# ASSESSMENT STEPS FOR PROTECTION ENGINEER

Power System Principles

Short Circuit /Fault level etc.

Principles of Instrument Transformers

(CTs, VTs), Metering

Feeder / Cable Protection:

a.  Non dir. O/C & E/F relays

b.  Dir. O/C & E/F relays

c.  Distance Relays

d.  Pilot Wire Protection

e.  Current Differential relays

Transformer Protection:

- Biased Differential relays

- REF relays

- Transformer Main Protection

Transformer Testing:

- Ratio/Vector Group

- Transformer Stability

- REF stability

Bus Bar Protection:

High / Low impedance

Stability

# ASSESSMENT STEPS FOR TESTING ENGINEER

Testing Instrument Transformers

(CTs, VTs), Metering

Testing Feeder / Cable Protection

a.  Non dir. O/C & E/F relays

b.  Dir. O/C & E/F relays

c.  Distance Relays

d.  Pilot Wire Protection

e.  Current Differential relays

Testing Transformer Protection

- Biased Differential relays

- REF relays

- Transformer Main Protection

Transformer Testing

- Ratio/Vector Group

- Transformer Stability

- REF stability

Bus Bar Protection

High / Low impedance

Stability